Section 890.1240  Miscellaneous

Drain Cock.  All storage tanks shall be equipped with drain cocks.