Section 890.1800  Floor Drains

a)	Location.  Floor drains can be located either within a cell or outside the cell.

b)	Drain Cover.  Each drain cover shall be securely anchored by means of vandal resistant screws.