Section 890.APPENDIX A   Plumbing Materials, Equipment, Use Restrictions and Applicable Standards

Section 890.TABLE F   Fixtures Not Listed in Table E

| Fixture Drain or Trap Size |  | Drainage Fixture Unit Valve (D.F.U.) |
| --- | --- | --- |
| 1¼ inches and smaller |  | 1 |
| 1½ inches |  | 2 |
| 2 inches |  | 3 |
| 2½ inches |  | 4 |
| 3 inches |  | 5 |
| 4 inches |  | 6 |