Section 890.APPENDIX A   Plumbing Materials, Equipment, Use Restrictions and Applicable Standards

Section 890.TABLE J   Size of Vent Stacks

| Number of Bathroom Groups |  | Diameter of Vent Stacks (Inches) |
| --- | --- | --- |
| 1 or 2 |  | 2 |
| 3 to 9 |  | 3 |
| 10 to 16 |  | 4 |