Section 890.APPENDIX A   Plumbing Materials, Equipment, Use Restrictions and Applicable Standards

Section 890.TABLE P   Demand at Individual Water Outlets

Demand at Individual Water Outlets

| Type of Outlet | Demand (g.p.m.) |
| --- | --- |
| Ordinary Lavatory Faucet | 2.0 |
| Self Closing Lavatory Faucet | 2.5 |
| Sink Faucet, ⅜" or ½" | 4.5 |
| Sink Faucet, ¾" | 6.0 |
| Bath Faucet, ½" | 5.0 |
| Shower Head, ½" | 5.0 |
| Laundry Faucet, ½" | 5.0 |
| Ballcock in Water Closet Flush Tank | 3.0 |
| 1" Flush Valve (25 psi flow pressure) | 35.0 |
| 1" Flush Valve (15 psi flow pressure) | 27.0 |
| ¾" Flush Valve (15 psi flow pressure) | 15.0 |
| Drinking Fountain Jet | 0.75 |
| Dishwashing Machine (domestic) | 4.0 |
| Laundry Machine (8 to 16 pounds) | 4.0 |
| Aspirator (operating room or laboratory) | 2.5 |

(Source:  Amended at 22 Ill. Reg. 21540, effective December 1, 1998)