Section 895.40  Plumbing

All plumbing shall be installed in accordance with, and of materials approved by the Illinois Plumbing Code (77 Ill. Adm. Code 890) and shall be maintained in good working order.  A plumbing system in compliance with the Illinois Plumbing Code (77 Ill. Adm. Code 890) shall be provided in any residential dwelling subject to this Part.

(Source:  Amended at 15 Ill. Reg. 18003, effective January 1, 1992)