Section 905.APPENDIX A   Illustrations and Exhibits

Section 905.ILLUSTRATION F   Minimum Volumes for Septic Tanks Serving Residential Units

| NUMBER OF BEDROOMS | MINIMUM LIQUID CAPACITY OF TANK (GALLONS) | MINIMUM LIQUID CAPACITY OF TANK (GALLONS) WHEN GARBAGE GRINDER IS USED |
| --- | --- | --- |
| 2 or less | 750 | 1125 |
| 3 | 1000 | 1500 |
| 4 | 1250 | 2000 |
| 5 | 1500 | 2200 |
| 6 | 1750 | 2600 |
| 7 | 2000 | 3000 |

(Source: Amended at 20 Ill. Reg. 2431, effective March 15, 1996)