Section 930.TABLE A   Approved Materials for Water Service Pipe

|  |  | Material | Standard |
| --- | --- | --- | --- |
| 1) |  | Acrylonitrile Butadiene Styrene (ABS) Pipe | ASTM D 1527-1988 |
|  |  |  | ASTM D 2282-1988 |
|  |  | Joints | ASTM D 2235-1988 |
|  |  | Solvent Cement (1) | ASTM D 2235-1988 |
| 2) |  | Brass Pipe | ASTM B 43-1988 |
| 3) |  | Cast Iron (ductile iron) | ASTM A 377-1984 |
|  |  | Water Pipe |  |
| 4) |  | Chlorinated Polyvinyl Chloride (CPVC) Pipe | ASTM D 2846-1988 |
|  |  |  | ASTM F 441-1988 |
|  |  |  | ASTM F 442-1988 |
|  |  | Joints | ASTM D 2846-1988 |
|  |  | Solvent Cement (orange) (1) | ASTM F 493-1988 |
| 5) |  | Copper/Copper Alloy Pipe | ASTM B 42-1988 |
|  |  |  | ASTM B 302-1988 |
| 6) |  | Copper/Copper Alloy Tubing | ASTM B 88-1988 |
| 7) |  | Polyethylene (PE) Pipe | ASTM D 2239-1988 |
| 8) |  | Polyethylene (PE) Tubing | ASTM D 2737-1988 |
| 9) |  | Polyvinyl Chloride (PVC) Pipe | ASTM D 1785-1988 |
|  |  |  | ASTM D 224l-1988 |
|  |  |  | ASTM D 2672-1988 |
|  |  | Joints | ASTM D 2855-1983 |
|  |  | Primer | ASTM F 656-1988 |
|  |  | Solvent Cement (1) | ASTM D 2564-1988 |
| (1) | Solvent cement must be handled in accordance with ASTM F 402-1988. |  |  |

(Source:  Added at 27 Ill. Reg. 15998, effective October 1, 2003)