Section 1250.1620  Need

a)	Criteria #1:  What is the projected community need for the service?

b)	Standard #1:  There should be adequate capability to examine all patients requiring service.  The volume of patients requiring examination should not exceed the equipment capability at 100% annual utilization as determined in the following manner.

1)	# proce. x time per proce. = % use of equipment

total time equip. is available

A)	Total time equipment is available = 55 hours/week x 52 weeks x 60 minutes = 171,600 minutes

B)	Scan time as follows per procedure:

i)	Head scanner = 53 minutes

ii)	Body scanner

Head Scan = 46 minutes

Body Scan = 66 minutes

2)	As no accurate method for projecting TCT caseload exists capability will be based on previous year utilization.

c)	Data Factors:

1)	Number of scanners.

2)	Previous year scanning totals by type of scan and type of equipment.

d)	Standard #2:

1)	Existing TCT equipment should operate at an optimum level of utilization.

2)	Optimum utilization shall be defined as a utilization rate of 3,000 procedures annually based upon the HECT weighted allocation formula approach.

Annual HECT Volume

| Type of Scan |  | Yearly No. Patients |  | Conversion Factors |  | = HECTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Head w/o contrast | X |  |  | 1.00 |  | = |  |
| Head w/o contrast | X |  |  | 1.25 |  | = |  |
| Head w/o & w cont. | X |  |  | 1.75 |  | = |  |
| Body w/o contrast | X |  |  | 1.50 |  | = |  |
| Body w/contrast | X |  |  | 1.75 |  | = |  |
| Body w/o & w cont. | X |  |  | 2.75 |  | = |  |
|  |  |  |  | Total |  |  |  |

e)	Data Factors: 	1. 	Number of scans performed by type of scan.