Section 1250.1670  Quality

a)	Criteria #1:  Does equipment in existence operate in an acceptable manner?

b)	Standard #1:  All equipment should be modern and not result in excessive duplication of scans or inordinate down time due to needed repair.

c)	Data Factors:

1)	Down time of equipment.

2)	Age of equipment.

3)	Repair costs.

4)	Compliance with applicable state safety regulations.

d)	Criteria #2:  Does CT scanning exist as a component of a diagnostic service offering alternative and back-up test capabilities?

e)	Standard #1:  All CT scanners should exist as a component of a comprehensive diagnostic program which has the capability of providing EEG, EMG and electronystomography.

f)	Data Factors:  Means of providing required tests.

g)	Criteria #3:  Are patient records available and accessible?

h)	Standard #1:  Policies should be in place relative to the use and release of medical records.

i)	Data Factors: Medical record policies.