Section 265.30  Location Records

a)	Every underground utility facilities operator shall maintain records showing the location of all of its underground utility facilities, installed after January 16, 1962, except relatively minor facilities that connect a particular premises or building to a facility serving more than one premises or building.

b)	Every underground utility facilities operator shall be able to locate all of its underground utility facilities installed after January 16, 1962:

1)	by maintaining accurate records showing the location of its underground utility facilities, or

2)	by maintaining equipment that can locate its underground utility facilities in the field.

c)	Nothing in this Part shall be construed to require a utility to maintain records showing the depth of underground utility facilities or to indicate the depth of underground utility facilities in the field.