Section 285.315  General Information Requirements Applicable for Gas Utilities

The information listed in this Section is required of gas utilities only.  Provide forecasted peak design day, the estimated amount of available peak day supply and the reserve margin during the test year. List and explain all criteria used by the utility as a basis for each of these values and provide all associated workpapers.

(Source:  Amended at 38 Ill. Reg. 7598, effective March 20, 2014)