Section 285.325  General Information Requirements Applicable for Water and/or Sewer Utilities

The information listed in this Section is required of water and/or sewer utilities.

a)	Monthly flows received at the sewage treatment plant for the last three years.

b)	Peak day and peak hour (if available) water flows for the last three years.

(Source:  Amended at 38 Ill. Reg. 7598, effective March 20, 2014)