Section 305.50  Certificates of Public Convenience and Necessity

An application for a Certificate of Public Convenience and Necessity to construct, operate and maintain a new electric supply line or communication line shall be accompanied by a plat of suitable scale to clearly show:

a)	The location of the proposed line along its entire length.

b)	The location of railroad tracks, and electric supply and communication lines which will be crossed by the proposed new lines.

c)	The location of all other electric supply and communication lines that are located within one-half mile of the route of the proposed new line.

d)	The names of the utilities owning or operating railroad, electric supply and communication lines, shown on the plat in conformance with subsections (b) and (c) above.