Section 460.610  Site Inspections

a)	An MSP employee shall visually inspect meter sites prior to performing any work on site. An MSP employee shall not perform any work unless all hazardous conditions are corrected. If a hazardous condition exists that must be corrected by the DSP, the MSP shall notify the DSP immediately. If a hazardous condition exists that must be corrected by the customer, the MSP shall notify the customer immediately.

b)	An MSP employee shall immediately notify public safety personnel if a hazardous condition exists that might reasonably be expected to endanger the public if not immediately corrected.

c)	If an MSP employee determines that a customer should be designated as a life support customer, the MSP shall notify the DSP of the circumstances and request evaluation of the customer. The MSP may temporarily mark the metering installation with a life support seal until the DSP determines if the customer qualifies as a life support customer. In no case will an MSP classify a customer as a life support customer if the DSP determines that the customer does not qualify.