Section 466.50  Interconnection Requests

a)	Applicants seeking to interconnect a DER facility shall submit an interconnection request to the EDC that owns the electric distribution system to which interconnection is sought.  Applicants shall use interconnection request forms approved by the Commission.

b)	EDCs may charge a fee by level that an applicant must remit in order to process an interconnection request. The EDCs shall not charge more than the fees specified in the interconnection request application forms (Appendices A and D).

c)	Interconnection requests may be submitted electronically.

(Source:  Amended at 46 Ill. Reg. 9666, effective May 26, 2022)