Section 467.40  Technical Standards

The EDC shall use relevant technical interconnection standards adopted by the applicable regional transmission organization (RTO). If such standards do not exist, the parties shall negotiate adjustments or modifications to IEEE Standard 1547 that are necessary due to electric system conditions or constraints, or to unique generator characteristics.