Section 501.540  Good Engineering Practice

A utility shall use accepted good engineering practice to plan, design, construct, operate and maintain its natural gas delivery facilities to ensure adequate, efficient, reliable, safe and least-cost service to customers.