Section 1325.510  Electronic Communication Devices

Except for the purpose specifically indicated and authorized by law, the installation of or connection to the 9-1-1 system network of an automatic alarm, automatic alerting device, or mechanical dialer that causes the number 9-1-1 to be dialed is prohibited in a 9-1-1 system (e.g., elevator one-button phones, security pole one-button phones, or burglar alarms).