Section 509.90  Compliance with Life Safety Standards and Requirements

All program facilities shall be in compliance with applicable State licensure requirements and local ordinances with regard to fire, building, zoning, sanitation, health, and safety requirements.