Section 442.450  Heater Connections

Each heater installation shall include two shut off valves as close to the engine inlet and outlet connections as practicable.