Section 530.520  Post Installation Location

All non-metallic underground utilities will have a Department approved metallic locator installed above the facility.